Instruction

| Front | Back |  | Screws |
| --- | --- | --- | --- |
| 1，Remove the screws | 2，Put the cover leave from base |  | 3，Cut off the electronic |
| 4，Install the Plastic expansion screw into the ceiling |  | 5，Screw through the base,install into the plastic expansion screw | 6，The wire from the ceiling passes through the hole of the lamp base and is connected to the wire of lamp |
| 7，Install the cover |  | 8，Comfirm it everything is okay | 9，Turn on the electronic |